## Slide 1
RNAs are purified by the Trizol protocol and resuspended in water. An example is shown where 2 µl of 25 µl total volume were run on a 1xTBE gel):
ST 1 2 3 4
ST: lambda Hind3
1: RNA FCR3 1. estimated ~1µg/µl
2: RNA FCR3 2. estimated ~1µg/µl
3: 3D7 RNA 1. estimated ~3 µg/µl
4: 3D7 RNA 2. estimated ~3 µg/µl
DNAse 1 reaction and cDNA synthesis
Do the DNAse1 reaction following the manufacturer’s instructions. Here, the DNAse reaction was done with 4 µl FCR3 RNA and 4µl 3D7 RNA. The RT-reaction was done in 120 µl volume (3D7, or FCR3 samples: 40µl). I pipetted:
DNAse1 RNA 22 µl 10 µl
random oligos 10 pmol/µl 6 µl 2 µl
H2O 50 µl 12.5 µl
--------------------- heat 65°C, 5 min, then on ice, then RT----------------
dNTPs 10 mM 12 µl 4 µl
RNAse inhibitor (e.g. Ribolock) 6 µl 2 µl
RT Reaction buffer 5x 24 µl 8 µl
Mix all and take out 9.5 µl for the RT- control! To the major part, pipet:
RT (here: RevertAid Fermentas) 5.5 µl 1,5µl
-------- --------
120 µl (~0,1µg/µl) 40 µl (~0.05µg/µl)
Incubate 5 min at RT, then 50 min at 42°C. Stop the reaction by heating to 70°C for 10 min and store the cDNA at -20°C.
P. falciparum RNA purification and cDNA synthesis